WEST AFRICAN COLLEGE OF PHYSICIANS

ACCREDITATION FORMAT

FACULTY OF LABORATORY MEDICINE

(CHEMICAL PATHOLOGY)

WEST AFRICAN COLLEGE OF PHYSICIANS

ACCREDITATION FORMAT

FACULTY OF LABORATORY MEDICINE

HEADINGS

- INFRA STRUCTURE

- MANPOWER

- EQUIPMENT AND FACILITIES

- HEALTH AND SAFETY

- INVESTIGATIONS PERFORMED

- QUALITY SYSTEMS

- SERVICES AND CLINICAL PROGRAMMMES

- ACADEMIC ACTIVITIES.

- SUMMARY OF ANNUAL REPORT OF PRECEDING TWO YEARS

- SUMMARY OF ACTIVITIES OF HOSPITAL

CONDITIONS FOR ACCREDITATION FOR EACH DIVISION

1.	FULL ACCREDITATION (5years)

- The laboratory must score at least the stated minimum mark in each of the eight (8) sections.

OR

B.    The laboratory scores at least the minimum in seven areas plus a score of not more than 5% points   below the minimum in the eighth area.

2.	TWO YEARS ACCREDITATION

If laboratory attains at least a minimum score in six of the eight sections, it must be given two years accreditation.

3.	NO ACCREDITATION

The laboratory does not satisfy ‘2’ above.

1. PHYSICAL STRUCTURE

CHEMICAL PATHOLOGY LABORATORY

Items (i) – (x)    Grade as: Poor; Below average; Satisfactory

Item (xi)    Grade As;   0 – Not Present; 1 – Poor; 2. – Below average; 3 – Acceptable;

4 –  above Average; 5 – Excellent

| S/N | ITEM | NO. PRESENT & FUNCTIONAL | NO. DESIRABLE (FOR 500 BED HOSPITAL) | GRADE | REMARKS |
| --- | --- | --- | --- | --- | --- |
| i. | Block work |  |  |  |  |
| ii. | Windows and doors |  |  |  |  |
| iii. | Roofing and ceiling |  |  |  |  |
| iv. | Water supply |  |  |  |  |
| v. | Power supply |  |  |  |  |
| vi. | Staff toilets |  |  |  |  |
| vii. | Clients toilets |  |  |  |  |
| viii. | Clients waiting area |  |  |  |  |
| ix. | Benches |  |  |  |  |
| x. | Lockers |  |  |  |  |
| xi. | Space: Reception |  |  |  |  |
|  | Administration |  |  |  |  |
|  | Chief Tech/scientist |  |  |  |  |
|  | HOD Office |  |  |  |  |
|  | Consultants Offices |  |  |  |  |
|  | Library |  |  |  |  |
|  | Staff rest room |  |  |  |  |
|  | Residents room |  |  |  |  |
|  | Seminar room |  |  |  |  |
|  | Main Laboratories |  |  |  |  |
|  | Enzymology and Lipid Lab |  |  |  |  |
|  | Immunoassay Lab |  |  |  |  |
|  | Automation Lab |  |  |  |  |
|  | Stores |  |  |  |  |
|  | Sluice |  |  |  |  |
|  | Call duty room |  |  |  |  |
|  | Wash up room |  |  |  |  |

Items (i) – (x) 	Grade as:   Poor, Below average, Satisfactory

To pass MUST score at least 40% initially

To be increased to 60% in 3 years.

Additional comments:

2. MANPOWER

CHEMICAL PATHOLOGY DEPARTMENT

Grade as:  0 – Not Present; 1 – Poor; 2 – Below average; 3 – Acceptable; 4 – above  Average; 5 –  Excellent

| S/N | CATEGORY | NO. PRESENT | NO. DESIRABLE | GRADE | REMARKS |
| --- | --- | --- | --- | --- | --- |
| 1. | Head of Department |  | 1 |  |  |
| 2. | Consultants |  | 4 |  |  |
| 3. | Residents |  | ? |  |  |
| 4. | Research scientists |  | 2 |  |  |
| 5. | Chief Lab Scientist |  | 1 |  |  |
| 6. | Other Medical Lab Scientists |  | ≥0 |  |  |
| 7. | Lab technical assts/Med lab Assts. |  | ≥5 |  |  |
| 8. | Administrative Officer(s) |  | 1 |  |  |
| 9. | Secretarial staff |  | 4 |  |  |
| 10. | Clerical staff |  | 2 |  |  |
| 11. | Receptionists |  | 4 |  |  |
| 12. | Metabolic clinic Nurse |  | 2 |  |  |
| 13. | Dietician |  | 1 |  |  |
| 14. | Cleaners |  | 4 |  |  |
| 15. | Drivers |  | 1 |  |  |
| 16. | Others (specify) |  |  |  |  |

Pass:  MUST have a minimum of 50% in the first accreditation.

To be increased to 75% in 3 years

Additional comments

3. EQUIPMENT LIST

CHEMICAL PATHOLOGY LABORATORY

Grade as:      0 – Not Present; 1 – Poor; 2 – Below average; 3 – Acceptable; 4 – above Average;

5 – Excellent

| S/N | ITEM | NO. PRESENT | NO. DESIRABLE | GRADE | REMARK |
| --- | --- | --- | --- | --- | --- |
|  | Domestic refrigerators |  | 6 |  |  |
|  | Domestic deep freezers |  | 4 |  |  |
|  | – 70/80 Freezer |  | 1 |  |  |
|  | Bench top centrifuge |  | 2 |  |  |
|  | Analytical balance |  | 2 |  |  |
|  | Electrochemical hot plate |  | 3 |  |  |
|  | Hot air oven |  | 2 |  |  |
|  | Water bath, various temperatures |  | 2 |  |  |
|  | Light microscopes (Binoculars) |  | 1 |  |  |
|  | Flame photometer |  | 2 |  |  |
|  | Chemistry autoanalyzer |  | 1 |  |  |
|  | Immunoanalyzer |  | 1 |  |  |
|  | Stop clocks/timers |  | 8 |  |  |
|  | Spectrophotometers |  | 3 |  |  |
|  | Colourimeters |  | 2 |  |  |
|  | Turbidometer |  | 4 |  |  |
|  | Immunoassay reader and printer |  | 1 set |  |  |
|  | Immunoassay washer |  | 2 |  |  |
|  | Automatic pipettes, fixed and variable volume |  | 10 |  |  |
|  | Water dionizer |  | 1 |  |  |
|  | Water Distiller |  | 2 |  |  |
|  | Blood gas analyzer |  | 1 |  |  |
|  | Desktop computers with monitors |  | 4 |  |  |
|  | Printers |  | 4 |  |  |
|  | Test tube racks |  | 20 |  |  |
|  | pH meter |  | 2 |  |  |
|  | Osmometers |  | 2 |  |  |
|  | Electrophoretic tank plus power pack |  | 2 |  |  |
|  | Specimen mixer |  |  |  |  |
|  | Glasswares |  | Variable |  |  |
|  | Measuring Cylinder |  | 10 |  |  |
|  | Funnels |  | 5 |  |  |
|  | Magnetic stirrer |  | 2 |  |  |
|  | High Performance liquid chromatography |  | 1 |  |  |
|  | Atomic absorption spectrophotometer |  | 1 |  |  |

To Pass: Must have at least 60% (Core equipment must however be in place)

To be increased to 70% in 3 years

Additional comment:

4. HEALTH AND SAFETY

CHEMICAL PATHOLOGY

Grade as:      0 – Not Present; 1 – Poor; 2 – Below average; 3 – Acceptable; 4 – above Average;

5 – Excellent

| S/N | ITEM | PRESENT/ABSENT | GRADE | REMARKS |
| --- | --- | --- | --- | --- |
| 1. | Waste disposal. Bin removal and disposal |  |  |  |
| 2. | Electrical switches. No exposure of live conductors |  |  |  |
| 3. | Ladders and stairways in good condition |  |  |  |
| 4. | Protective clothing (coats, gloves, aprons) |  |  |  |
| 5. | Fire fighting equipment - portable extinguishers - alarm systems |  |  |  |
| 6. | Safety equipment - eye wash bottles - emergency shower |  |  |  |
| 7. | Ergonomic factors - Seating adequate - Accessibility of exit ways |  |  |  |
| 8. | Documentation of internal incident/injury/needle stick/report |  |  |  |
| 9. | Hand decontamination |  |  |  |
| 10. | Biological safety cabinets |  |  |  |
| 11. | Universal precautions for handling blood and body fluids |  |  |  |
| 12. | Training programmes for laboratory personnel in safe working habits |  |  |  |
| 13. | Appointment of a safety officer |  |  |  |
| 14. | Are staff fully immunized? |  |  |  |
| 15. | Programme for disposal of infectious waste |  |  |  |
| 16. | First Aid Box |  |  |  |
| 17. | Metal Box for acids/inflammable materials/sharp objects disposal |  |  |  |
| 18. | Lighting |  |  |  |
| 19 | Friction of the floor |  |  |  |
| 20 | Safe arrangement of things in the lab |  |  |  |
| 21 | Post Exposure Prophylaxis |  |  |  |

Additional Comments: This is a new section that requires a minimum of 40% as pass mark. This MUST be increased to 60% in 3 years

5. INVESTIGATIONS PERFORMED

CHEMICAL PATHOLOGY LABORATORY

Grading:  0 – Not present/never done;  1 – Suspended;  2 – Rarely done;  3 – Regularly done

| S/N | TESTS | NO. DONE PREVIOUS YEAR | IF NOT DONE REASON | GRADE | REMARKS |
| --- | --- | --- | --- | --- | --- |
| . | ELECTROLYTES |  |  |  |  |
| 1. | Serum Sodium and Potassium, |  |  |  |  |
| 2 | Serum Calcium |  |  |  |  |
| 3. | Serum Magnesium |  |  |  |  |
|  | Blood gases |  |  |  |  |
| . | RENAL FUNCTIONS TEST |  |  |  |  |
| 1. | Serum Urea |  |  |  |  |
| 2 | Serum Creatinine |  |  |  |  |
| 3. | GFR |  |  |  |  |
| 4 | Serum Uric acid |  |  |  |  |
| 5. | Urinalysis |  |  |  |  |
|  | LIVER FUNCTIONS TESTS |  |  |  |  |
| 1. | Serum bilirubin |  |  |  |  |
| 2. | Serum total proteins |  |  |  |  |
| 3. | Serum albumin |  |  |  |  |
| 4. | Serum protein electrophoresis |  |  |  |  |
| 5. | Serum Alkaline phosphatase |  |  |  |  |
| 6. | Serum Gammal glutamyl transferase |  |  |  |  |
| 7. | Serum 5’ Nucleotidase |  |  |  |  |
| 8. | Serum Aspartate transaminase |  |  |  |  |
| 9. | Serum Alaline transaminase |  |  |  |  |
|  | HORMONES |  |  |  |  |
|  | Thyroid Functiions |  |  |  |  |
|  | Total T3, and total T4 |  |  |  |  |
|  | Free T3 and Free T4 |  |  |  |  |
|  | TSH |  |  |  |  |
|  | Serum Reproductive Hormones |  |  |  |  |
|  | LH, FSH, |  |  |  |  |
|  | Testosterone |  |  |  |  |
|  | Oestrogen |  |  |  |  |
|  | Progesterone |  |  |  |  |
|  | Prolactin |  |  |  |  |
|  | Serum Adrenal Hormones |  |  |  |  |
|  | Cortisol |  |  |  |  |
|  | ACTH |  |  |  |  |
|  | TUMOUR MARKERS |  |  |  |  |
|  | Prostrate specific antigen |  |  |  |  |
|  | Alpha feto protein |  |  |  |  |
|  | Acid phosphatase |  |  |  |  |
|  | Carcino Embryonic antigen |  |  |  |  |
|  | Human chorionic gonadotrophin |  |  |  |  |
|  | OTHERS |  |  |  |  |
|  | CSF protein and glucose |  |  |  |  |
|  | Stool occult blood |  |  |  |  |

Minimum mark to pass 60% . To be increased to 75% in 3 years

ADDITIONAL COMMENTS

6. QUALITY SYSTEMS

CHEMICAL PATHOLOGY

Grading: 0 – Absent; 1 – Present poor; 2 – Barely acceptable; 3 – Acceptable; 4 – Above Average;

5 – Very High standard

| S/N | ITEM | PRESENT/ABSENT | GRADE | REMARKS |
| --- | --- | --- | --- | --- |
| 1. | Presence of quality manual |  |  |  |
| 2. | Presence of quality control officer |  |  |  |
| 3. | Use of Internal quality control material |  |  |  |
| 4. | Presence of control charts |  |  |  |
| 5. | Participation in external quality control |  |  |  |
| 6. | Records of temperatures in fridges, incubators |  |  |  |
| 7. | Record of temperatures in freezers, oven |  |  |  |
| 8. | Standard operating procedures displayed |  |  |  |
| 9. | Records on equipment maintenance |  |  |  |
| 10. | Documentation of errors and action taken |  |  |  |
| 11. | Proficiency assessment. |  |  |  |
| 12. |  |  |  |  |
| 13. |  |  |  |  |
| 14. |  |  |  |  |
| 15. |  |  |  |  |

ADDITIONAL COMMENTS. Minimum of 40% must be available. This must be increased to 70% in 3 years.

7. SERVICES AND CLINICAL PROGRAMMES

CHEMICAL PATHOLOGY

Grading:  0 – Not present/never done;  1 – Suspended;  2 – Rarely done;  3 – Regularly done

| S/N | ITEM | FREQUENCY PER WEEK | GRADE/REMARK |
| --- | --- | --- | --- |
| 1. | Laboratory investigations for the hospital - Regular hour - Emergency service (neonatal bilirubin, blood glucose, Electrolytes and urea,) |  |  |
| 2. | Laboratory investigation for outside client |  |  |
| 3. | Specialist clinics. - Metabolic - Obesity |  |  |
| 4. | Consultation of Ward patients |  |  |
| 5. | Specialist Consultation (in/out-patient) |  |  |
| 6. | Others – specify |  |  |

Must have at least 70%

Additional comment:

8 ACADEMIC ACTIVITIES

SECTION A:  STUCTURE

ITEM                                                                                                                              GRADE

0        1     2     3     4     5

- Departmental Library

- Hospital library

- Internet access

- Seminar/conference room

- Residents’ rest room

- ………………………………………………………………………………………………………

- ………………………………………………………………………………………………………

- ………………………………………………………………………………………………………

SECTION B:   ACTIVITIES

| SERIAL NUMBER | ITEM | FREQUENCY PER MONTH | REMARKS |
| --- | --- | --- | --- |
| 1 | Grand round |  |  |
| 2 | Formal lectures |  |  |
| 3 | Tutorial |  |  |
| 4 | Research seminar |  |  |
| 5 | Case presentation |  |  |
| 6 | Journal presentation |  |  |
| 7 | Clinico-pathological conference |  |  |
| 8 | Inter departmental clinical meetings |  |  |
| 9 | Other clinical postings |  |  |
| 10 | Outside postings |  |  |

Minimum of 80% should be present

SECTION C :          ASSESSMENT AND COUNSELLING.

ITEM                                                                                                                GRADE

0    1     2       3       4        5

- Formative assessment  as observed from Log books

- Departmental communication on residents’ assessment

- Evidence of mentoring

- Evidence of communication between department  and

hospital administration on formative assessment.

KEY TO GRADING

- Absent

- Present but poor

- Acceptable but below average

- Average; meets expectation

- Above expectation

- Excellent.

ACCREDITATION REPORT.

General Observations. State Lab division……………………………………………………………

GRADING

SECTION                                                                                                     GRADE.

- Infrastructure

- Manpower

- Equipment and facilities

- Health and safety

- Investigations performed

- Quality systems

- Services and Clinical Programmes

- Academic activities

- Summary of annual reports ( comments)

- Summary of activities of hospital (comments)

Summary of grading.

ACCREDITATION                                      FULL

TEMPORARY

PARTIAL

DENIED.

Accredited to train  ……….junior residents and  …………senior residents.

GENERAL RECCOMENDATION BASED ON OBSERVATION.-----------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------

If accreditation is denied the reason should be stated above.

Names and signature of accreditation team.

1.--------------------------------------------------------------------------------------------------------------------------------

2. -------------------------------------------------------------------------------------------------------------------------------

3. -------------------------------------------------------------------------------------------------------------------------------

4. -------------------------------------------------------------------------------------------------------------------------------

5.--------------------------------------------------------------------------------------------------------------------------------

6. -------------------------------------------------------------------------------------------------------------------------------

Date

Name and signature of head of laboratory department----------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------

Name and signature of hospital director or his representative.-------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------

Date received at the secretariat and signature.--------------------------------------------------------------------------

Faculty Board recommendation.-------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------

-------------------------------------------------			--------------------------------------------------------

Faculty Chairman                                                                         Faculty Secretary.

Date