WEST AFRICAN COLLEGE OF PHYSICIANS

ACCREDITATION FORMAT

FACULTY OF LABORATORY MEDICINE

HAEMATOLOGY

WEST AFRICAN COLLEGE OF PHYSICIANS

ACCREDITATION FORMAT

FACULTY OF LABORATORY MEDICINE

HEADINGS

- INFRA STRUCTURE

- MANPOWER

- EQUIPMENT AND FACILITIES

- HEALTH AND SAFETY

- INVESTIGATIONS PERFORMED

- QUALITY SYSTEMS

- SERVICES AND CLINICAL PROGRAMMMES

- ACADEMIC ACTIVITIES.

- SUMMARY OF ANNUAL REPORT OF PRECEDING TWO YEARS

- SUMMARY OF ACTIVITIES OF HOSPITAL

CONDITIONS FOR ACCREDITATION FOR EACH DIVISION

1.	FULL ACCREDITATION (5years)

- The laboratory must score at least the stated minimum mark in each of the eight (8) sections.

OR

B.   The laboratory scores at least the minimum in seven areas plus a score of not more than 5% points below the minimum in the eighth area.

2.	TWO YEARS ACCREDITATION

If laboratory attains at least a minimum score in six of the eight sections, it must be given two years accreditation.

3.	NO ACCREDITATION

The laboratory does not satisfy ‘2’ above.

- INFRASTRUCTURE

HAEMATOLOGY AND BLOOD TRANSFUSION

Items (i) – (x)	Grade as: Poor, Below average, Satisfactory

Item (xi) Grade As:  0 – Not Present; 1 – Poor;  2 – Below average;  3 – Acceptable;

4 – Above Average;  5 – Excellent

| S/N | ITEM | NO. PRESENT AND FUNCTIONAL | NO. DESIRABLE (FOR 500 BED HOSPITAL) | GRADE | REMARKS |
| --- | --- | --- | --- | --- | --- |
|  | Block work State of paint work Lab space Air condition system |  |  |  |  |
|  | Windows and doors |  |  |  |  |
|  | Roofing and ceiling |  |  |  |  |
|  | Water supply |  |  |  |  |
|  | Power supply-national grid Alternate supply |  |  |  |  |
|  | Staff toilets |  |  |  |  |
|  | Clients toilets |  |  |  |  |
|  | Clients waiting area |  |  |  |  |
|  | Work Benches |  |  |  |  |
|  | Lockers |  |  |  |  |
|  | Space: Reception Administration/computer Chief Tech/scientist “ H. O. D. Office “ Individual consultants Offices with computers Library /Internet access Staff rest room Residents room Seminar room Main Laboratories Special Labs (list them) Stores Sluice |  |  |  |  |

Items (i) – (x) 	Grade as:  Poor, Below average, Satisfactory

To pass MUST score at least 40% initially

To be increased to 60% in 3 years.

Additional comments:

# 2. MANPOWER

HAEMATOLOGY AND BLOOD TRANSFUSION

Grade as:  0- Not present  1 – Poor;  2 – Below average;  3 – Acceptable;  4 – Above Average; 5 – Excellent

| S/N | CATEGORY | NO. PRESENT | NO. DESIRABLE | GRADE | REMARKS |
| --- | --- | --- | --- | --- | --- |
|  | Head of Department (medically qualified) |  | 1 |  |  |
|  | Consultants( medically qualified) |  | 4 |  |  |
|  | Medical Specialists |  | Optional |  |  |
|  | Residents |  | 3/consultant |  |  |
|  | Research scientist |  | Optional |  |  |
|  | Chief Lab scientist |  | 1 |  |  |
|  | Other Med. Lab scientist |  | 15 |  |  |
|  | Lab technical assistants Lab technicians/lab assistants |  | 5 Option or up to 5 |  |  |
|  | Administrative officer(s) for HOD |  | 1 |  |  |
|  | Secretarial staff |  | 4 |  |  |
|  | Clerical staff |  | 2 |  |  |
|  | Receptionists |  | 4 |  |  |
|  | Blood donor organizers |  | 4 |  |  |
|  | Nursing officers (Research/Oncology Counselling |  | 4 |  |  |
|  | Blood donor room assistants |  | 8 |  |  |
|  | Cleaners |  | 4 |  |  |
|  | Drivers |  | ? |  |  |
|  | Others (specify) |  |  |  |  |

Pass:  MUST have a minimum of 50% in the first accreditation.

To be increased to 75% in 3 years

Additional comments

- EQUIPMENT LIST

HAEMATOLOGY AND BLOOD TRANSFUSION

Grade as:  0- Not present  1 – Poor;  2 – Below average;  3 – Acceptable;  4 – Above Average; 5 – Excellent

| S/ N | ITEM | NO. PRESENT | NO. DESIRABLE | GRADE | REMARKS |
| --- | --- | --- | --- | --- | --- |
| 1. | Domestic refrigerators |  | 10 |  |  |
| 2. | Domestic deep freezers |  | 4 |  |  |
| 3. | Blood Bank refrigerators (capacity 150 bags plus) |  | 4 |  |  |
| 4. | Blood Bank freezers |  | 2 |  |  |
| 5. | Ultra low deep freezers |  | 1 |  |  |
| 6. | Bench top centrifuge |  | 6 |  |  |
| 7. | Microhaematocrit centrifuge |  | 4 |  |  |
| 8. | Ultra cold centrifuge for fractionation |  | 2 |  |  |
| 9. | Analytical balance |  | 2 |  |  |
| 10. | Balance for weighing blood |  | 2 |  |  |
| 11. | Incubators(dry incubator) |  | 2 |  |  |
| 12. | Hot air oven |  | 2 |  |  |
| 13. | Water bath, various sizes |  | 4 |  |  |
| 14. | Binocular microscopes |  | 15 |  |  |
| 15. | Teaching microscope (multiple heads) |  | 1 |  |  |
| 16. | Microscope with camera |  | 1 |  |  |
| 17. | Anglepoise lamp |  | 1 |  |  |
| 18. | Spectrophotometers |  | 3 |  |  |
| 19. | ESR stand |  | 4 |  |  |
| 20. | Differential counters |  | 6 |  |  |
| 21. | Stop clocks/timers |  | 8 |  |  |
| 22. | Haematology automatic analyzer |  | 2 |  |  |
| 23. | Automatic staining machine |  | 1 |  |  |
| 24. | Blood mixers |  | 2 |  |  |
| 25. | Coagulometer |  | 2 |  |  |
| 26 | Flow Cytometer |  | 1 |  |  |
| 27 | Electrophoretic Power Pack |  | 2 |  |  |
| 28 | Electrophoretic Tank |  | 2 |  |  |
| 29 | Cold bench top centrifuge |  | 1 |  |  |
| 30 | Densitometer |  | 1 |  |  |
| 31 | Immunoassay reader and printer |  | 1 |  |  |
| 32 | Immunoassay washer |  | 2 |  |  |
| 33 | Automatic pipettes, fixed and variable volume |  | 10 |  |  |
| 34 | Plasma extractor |  | 2 |  |  |
| 35 | Juglo boxes |  | 8 |  |  |
| 36 | Distilling plant |  | 2 |  |  |
| 37 | Autoclave |  | 2 |  |  |
| 38 | Desk top computers with monitors |  | 8 |  |  |
| 39 | Printers |  | 6 |  |  |
| 40 | Staining racks |  | 4 |  |  |
| 41 | pH meter |  | 2 |  |  |
| 42 | Neuber counting chamber |  | 4 |  |  |
| 43 | Platelet Agitator |  | 2 |  |  |
| 44 | Tube Sealer |  | 1 |  |  |
| 45 |  |  |  |  |  |

To Pass: Must have at least 60% (Core equipment must however be in place)

To be increased to 70% in 3 years

Additional comment:

- HEALTH AND SAFETY

HAEMATOLOGY AND BLOOD TRANSFUSION

Grade as:  0- Not present  1 – Poor;  2 – Below average;  3 – Acceptable;  4 – Above Average; 5 – Excellent

| S/ N | ITEM | PRESENT/ ABSENT | GRADE | REMARKS |
| --- | --- | --- | --- | --- |
|  | Waste disposal including handling of infected donor units. Bin removal and disposal |  |  |  |
|  | Electrical switches. No exposure of live conductors |  |  |  |
|  | Ladders and stairways in good condition |  |  |  |
|  | Protective clothing (lab coats, gloves heavy duty and latex, aprons) |  |  |  |
|  | Fire fighting equipment - portable extinguishers - alarm systems - emergency exit doors |  |  |  |
|  | Safety equipment - First aid box - eye wash bottles - emergency shower |  |  |  |
|  | Ergonomic factors - seating adequate - accessibility of emergency exit ways |  |  |  |
|  | Documentation of incident/injury/needle stick/ reporting process |  |  |  |
|  | Hand decontamination |  |  |  |
|  | Biological safety cabinets |  |  |  |
|  | Protocols for universal precautions for handling blood and body fluids |  |  |  |
|  | Training programmes for laboratory personnel in safe working habits |  |  |  |
|  | Appointment of a safety officer |  |  |  |
|  | Are staff fully immunized against HBV |  |  |  |
|  | Protocol for disposal of infectious waste/ Pest control |  |  |  |

Additional Comments: This is a new section that requires a minimum of 40% as pass mark. This MUST be increased to 60% in 3 years

- INVESTIGATIONS PERFORMED

HAEMATOLOGY AND BLOOD TRANSFUSION

Grade as:  0- Not done  1 – Suspended;  2 – Rarely done;  3 – Regularly Done

| S/N | TESTS | NO. DONE PREVIOUS YEAR | IF NOT DONE REASON | GRADE | REMARKS |
| --- | --- | --- | --- | --- | --- |
|  | Full blood count |  |  |  |  |
|  | Hb estimation only |  |  |  |  |
|  | Tests for malaria parasites |  |  |  |  |
|  | Peripheral thin blood film |  |  |  |  |
|  | Reticulocyte count |  |  |  |  |
|  | ESR |  |  |  |  |
|  | L/E cell |  |  |  |  |
|  | Sickling tests |  |  |  |  |
|  | Differential white cell count |  |  |  |  |
|  | Hb electrophoresis |  |  |  |  |
|  | Kleihauer test |  |  |  |  |
|  | Hb F estimation |  |  |  |  |
|  | Hb A2 estimation |  |  |  |  |
|  | Osmotic fragility test |  |  |  |  |
|  | Ham’s test |  |  |  |  |
|  | Glycerol lysis test |  |  |  |  |
|  | Bone marrow examination - Romanowski - Perl’s - Sudan Black B/peroxidase - PAS - Esterases |  |  |  |  |
|  | Bleeding Time |  |  |  |  |
|  | Prothrombin time TT |  |  |  |  |
|  | Activated partial thromboplastin time |  |  |  |  |
|  | Factor VIII/IX assay Fibrinogen assay |  |  |  |  |
|  | Platelet function tests |  |  |  |  |
|  | F. D. P/D. dimmer |  |  |  |  |
| 24 | Inhibitor screening |  |  |  |  |
| 25 | Cytogenetics |  |  |  |  |
| 26 | Immunophenotyping |  |  |  |  |
| 27 | Blood grouping |  |  |  |  |
| . 28 | Antenatal screening |  |  |  |  |
| 29 | Cross matching |  |  |  |  |
| 30 | Investigation of H. D. N. |  |  |  |  |
| 31 | Investigation of Transfusion reaction |  |  |  |  |
| 32 | Direct Coomb’s test |  |  |  |  |
| 33 | Indirect Coomb’s test |  |  |  |  |
| 34 | Paternity testing |  |  |  |  |
| 35 | Irregular antibody screening & identification |  |  |  |  |
| 36 | Screening for HIV |  |  |  |  |
| 37 | HBV screening |  |  |  |  |
| 38 | HCV screening |  |  |  |  |
| 39 | Syphilis screening |  |  |  |  |
| 40 |  |  |  |  |  |
| 41 |  |  |  |  |  |

Minimum mark to pass 60% . To be increased to 75% in 3 years

ADDITIONAL COMMENTS

- QUALITY SYSTEMS

HAEMATOLOGY AND BLOOD TRANSFUSION

Grade as:  0- Not present  1 – Poor;  2 – Below average;  3 – Acceptable;  4 – Above Average; 5 – Excellent

| S/N | ITEM | PRESENT/ ABSENT | GRADE | REMARKS |
| --- | --- | --- | --- | --- |
|  | Quality manual |  |  |  |
|  | Quality control officer |  |  |  |
|  | Use of internal quality control specimens |  |  |  |
|  | Control charts |  |  |  |
|  | Participation in external quality control |  |  |  |
|  | Control of cytochemical stain |  |  |  |
|  | Control for Hb screen (Blood donors) |  |  |  |
|  | Control process for blood collection (Blood in bags) |  |  |  |
|  | Records of temperatures in BB fridges |  |  |  |
|  | Records of temperatures in BB freezers/cold room |  |  |  |
|  | Records on discarded blood |  |  |  |
|  | Standard operating procedures displayed for lab benches |  |  |  |
|  | Records log book on equipment maintenance |  |  |  |
|  | Record of Lot number of expiratory date for each batch of reagents |  |  |  |
|  | Internal service audit records |  |  |  |
|  | Haemovigilance |  |  |  |

ADDITIONAL COMMENTS. Minimum of 40% must be available. This must be increased to 70% in 3 years.

- SERVICES AND CLINICAL PROGRAMMES

HAEMATOLOGY AND BLOOD TRANSFUSION

Grade as:  0- Not present  1 – Poor;  2 – Below average;  3 – Acceptable;  4 – Above Average; 5 – Excellent

| S/N | ITEM | FREQUENCY PER WEEK | GRADE |
| --- | --- | --- | --- |
|  | Laboratory investigations for the hospital - regular hour - emergency service |  |  |
|  | Laboratory investigation for outside clients |  |  |
|  | Specialist clinics. (specify) |  |  |
|  | Day care for haematology patients |  |  |
|  | Care of Ward patients |  |  |
|  | Provision of red cells |  |  |
|  | Provision of platelets |  |  |
|  | Provision of F. F. P Provision of ABT |  |  |
|  | Provision of cryoprecipitate |  |  |
|  | Provision of Factor concentrate |  |  |
|  | Provision of Rh D immunoglobulin |  |  |
|  | Specialist Consultation - Referrals |  |  |
|  | Others – specify In-patients per year Out-patients per year |  |  |

Must have at least 70%

- ACADEMIC ACTIVITIES

SECTION A:  STUCTURE

ITEM                                                                                                                              GRADE

0        1     2     3     4     5

- Departmental Library

- Hospital library

- Internet access

- Seminar/conference room

- Residents’ rest room

- …………………………………………………………………………………

- …………………………………………………………………………………

- …………………………………………………………………………………

SECTION B:   ACTIVITIES

| SERIAL NUMBER | ITEM | FREQUENCY PER MONTH | REMARKS |
| --- | --- | --- | --- |
| 1 | Grand round |  |  |
| 2 | Formal lectures |  |  |
| 3 | Tutorial |  |  |
| 4 | Research seminar |  |  |
| 5 | Case presentation |  |  |
| 6 | Journal presentation |  |  |
| 7 | Clinico-pathological conference |  |  |
| 8 | Other clinical postings |  |  |

Additional Comments: Minimum of 80% MUST be present

SECTION C :   ASSESSMENT AND COUNSELLING.

ITEM                                                                                                                GRADE

0    1     2       3       4        5

- Formative assessment  as observed from Log books

- Departmental communication on residents’ assessment

- Evidence of mentoring

- Evidence of communication between department  and

hospital administration on formative assessment.

KEY TO GRADING

- Absent

- Present but poor

- Acceptable but below average

- Average; meets expectation

- Above expectation

- Excellent.

ACCREDITATION REPORT.

General Observations. State Lab division……………………………………………………………………..

GRADING

SECTION

GRADE.

- Infrastructure

- Manpower

- Equipment and facilities

- Health and safety

- Investigations performed

- Quality systems

- Services and Clinical Programmes

- Academic activities

- Summary of annual reports ( comments)

- Summary of activities of hospital (comments)

Summary of grading.

ACCREDITATION                                        FULL

TEMPORARY

PARTIAL

DENIED.

Accredited to train  ……………………….junior residents and  ……………………….……senior residents.

GENERAL RECCOMENDATION BASED ON OBSERVATION.--------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------

If accreditation is denied the reason should be stated above.

Names and signature of accreditation team.

1.--------------------------------------------------------------------------------------------------------------------------------------

2. --------------------------------------------------------------------------------------------------------------------------------------

3. --------------------------------------------------------------------------------------------------------------------------------------

4. --------------------------------------------------------------------------------------------------------------------------------------

5.---------------------------------------------------------------------------------------------------------------------------------------

6. --------------------------------------------------------------------------------------------------------------------------------------

Date

Name and signature of head of laboratory department-------------------------------------------------------------------------

-----------------------------------------------------------------------------------------------------------------------------------------

Name and signature of hospital director or his representative.---------------------------------------------------------------

----------------------------------------------------------------------------------------------------------------------------------------

Date received at the secretariat and signature.----------------------------------------------------------------------------------

Faculty Board recommendation.-------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------

-----------------------------------------------------------------------------------------------------------------------------------------

----------------------------------------------------                             --------------------------------------------------------------

Faculty Chairman                                                                         Faculty Secretary.

Date