WEST AFRICAN COLLEGE OF PHYSICIANS

ACCREDITATION FORMAT

FACULTY OF LABORATORY MEDICINE

(MEDICAL MICROBIOLOGY & PARASITOLOGY)

HEADINGS

- INFRA STRUCTURE

- MANPOWER

- EQUIPMENT AND FACILITIES

- HEALTH AND SAFETY

- INVESTIGATIONS PERFORMED

- QUALITY SYSTEMS

- SERVICES AND CLINICAL PROGRAMMMES

- ACADEMIC ACTIVITIES.

- SUMMARY OF ANNUAL REPORT OF PRECEDING TWO YEARS

- SUMMARY OF ACTIVITIES OF HOSPITAL

CONDITIONS FOR ACCREDITATION FOR EACH DIVISION

1.	FULL ACCREDITATION (5years)

- The laboratory must score at least the stated minimum mark in each of the eight (8) sections.

OR

B.      The laboratory scores at least the minimum in seven areas plus a score of not more than 5% points below the minimum in the eighth area.

2.	TWO YEARS ACCREDITATION

If laboratory attains at least a minimum score in six of the eight sections, it must be given two years        accreditation.

3.	NO ACCREDITATION

The laboratory does not satisfy ‘2’ above.

1.	PHYSICAL STRUCTURE

MEDICAL MICROBIOLOGY & PARASITOLOGY LABORATORY

Items (i) – (x) 	Grade as Poor; Below average; Satisfactory

Item (xi)     Grade as 0 – Not Present; 1- Poor; 2. Below average; 3 – Acceptable; 4 – above  average; 5- Excellent

| S / N | ITEM | NO. PRESENT & FUNCTIONAL | NO. DESIRABLE (FOR 500 BED HOSPITAL) | GRADE | REMARKS |
| --- | --- | --- | --- | --- | --- |
| i | Block work |  |  |  |  |
| ii | Windows and doors |  |  |  |  |
| iii | Roofing and ceiling |  |  |  |  |
| iv | Water supply |  |  |  |  |
| v | Power supply |  |  |  |  |
| vi | Staff toilets |  |  |  |  |
| vii | Clients toilets |  |  |  |  |
| viii | Clients waiting area |  |  |  |  |
| ix | Benches |  |  |  |  |
| x | Lockers |  |  |  |  |
|  | Space: Reception |  |  |  |  |
|  | Administration |  |  |  |  |
|  | Chief Tech/scientist |  |  |  |  |
|  | HOD Office |  |  |  |  |
|  | Consultants offices |  |  |  |  |
|  | Library |  |  |  |  |
|  | Staff rest room |  |  |  |  |
|  | Residents room |  |  |  |  |
|  | Seminar room |  |  |  |  |
|  | Main Laboratories |  |  |  |  |
|  | Special Labs (list them) |  |  |  |  |
|  | Stores |  |  |  |  |
|  | Sluice |  |  |  |  |
|  | Call duty room |  |  |  |  |
|  | Autoclave room |  |  |  |  |

Items (i) – (x) 	Grade as:   Poor, Below average, Satisfactory

To pass MUST score at least 40% initially

To be increased to 60% in 3 years.

Additional comments:

2.	MANPOWER

MEDICAL MICROBIOLOGY & PARASITOLOGY DEPARTMENT

Grade as 0 – Not Present; 1 – Poor; 2 – Below average; 3- Acceptable; 4 – above average; 5 – Excellent

| S / N | ITEM | NO. PRESENT & FUNCTIONAL | NO. DESIRABLE (FOR 500 BED HOSPITAL) | GRADE | REMARKS |
| --- | --- | --- | --- | --- | --- |
| 1 | Head of Department |  | 1 |  |  |
| 2 | Consultants |  | 4 |  |  |
| 3 | Residents |  | ? |  |  |
| 4 | Research Scientists |  | 2 |  |  |
| 5 | Chief Lab Scientist |  | 1 |  |  |
| 6 | Other Medical Lab Scientists |  | ≥5 |  |  |
| 7 | Lab Technical Assts/Med. Lab Assts. |  | ≥8 |  |  |
| 8 | Administrative officer (s) |  | 1 |  |  |
| 9 | Secretarial Staff |  | 4 |  |  |
| 10 | Clerical Staff |  | 2 |  |  |
| 11 | Receptionists |  | 4 |  |  |
| 12 | Infection Control Nurse (for the Hosp) |  | 2 |  |  |
| 13 | Nursing officers |  | 3 |  |  |
| 14 | Cleaners |  | 4 |  |  |
| 15 | Drivers |  | 1 |  |  |
| 16 | Others (specify) |  |  |  |  |

Pass:  MUST have a minimum of 50% in the first accreditation.

To be increased to 75% in 3 years

Additional comments

3.	EQUIPMENT LIST

MEDICAL MICROBIOLOGY & PARASITOLOGY DEPARTMENT

Grade as 0 – Not Present; 1 – Poor; 2 – Below average;  3 – Acceptable; 4 – above average; 5 – Excellent

| S / N | ITEM | NO. PRESENT & FUNCTIONAL | NO. DESIRABLE (FOR 500 BED HOSPITAL) | GRADE | REMARKS |
| --- | --- | --- | --- | --- | --- |
| 1 | Domestic refrigerators |  | 6 |  |  |
| 2 | Domestic deep freezers |  | 4 |  |  |
| 3 | - 70 / 80 Freezer |  | 1 |  |  |
| 4 | Bench top centrifuge |  | 2 |  |  |
| 5 | Analytical balance |  | 2 |  |  |
| 6 | Incubators (+ 1 CO2) |  | 3 |  |  |
| 7 | Hot air oven |  | 2 |  |  |
| 8 | Water bath, various sizes |  | 2 |  |  |
| 9 | Light microscopes (Binoculars) |  | 12 |  |  |
| 10 | Teaching microscope (multiple heads) |  | 1 |  |  |
| 11 | Microscope with camera (digital) |  | 1 |  |  |
| 12 | Anglepoise lamp |  | 1 |  |  |
| 13 | Stop clocks /timers |  | 8 |  |  |
| 14 | PCR |  | 2 |  |  |
| 15 | Anaerobic jars |  | 2 |  |  |
| 16 | Turbidometer |  | 4 |  |  |
| 17 | Immunoassay reader and printer |  | 1 set |  |  |
| 18 | Immunoassay washer |  | 2 |  |  |
| 19 | Automatic pipettes, fixed and variable volume |  | 10 |  |  |
| 20 | Sperm quality analyzer * |  | 1 |  |  |
| 21 | Distilling plant |  | 2 |  |  |
| 22 | Autoclave |  | 2 vacuum, 4 potable |  |  |
| 23 | Desktop computers with monitors |  | 4 |  |  |
| 24 | Printers |  | 4 |  |  |
| 25 | Staining racks |  | 4 |  |  |
| 26 | pH meter |  | 2 |  |  |
| 27 | Neubar counting chamber & Fuchs Rosenthal |  | 4 |  |  |
| 28 | Tube racks |  | 8 |  |  |
| 29 | Sterilizing bottles |  | 20 |  |  |
| 30 | Glass wares |  | Variable |  |  |
| 31 | Measuring cylinders |  | 10 |  |  |
| 32 | Funnels |  | 5 |  |  |
| 33 | Standard wire loops |  | 50 |  |  |
| 34 | Fluorescent microscope * |  | 1 |  |  |
| 35 | Bactec for blood culture |  | 1 |  |  |
| 36 | Bactec for TB * |  | 1 |  |  |
| 37 | Electric burner/Bunsen burners |  | 5 |  |  |
| 38 | Others (specify) |  |  |  |  |

To Pass: Must have at least 60% (Core equipment must however be in place)

To be increased to 70% in 3 years

Additional comment

Additional comments: * Items not available in the Dept. but available in the hospital or nearby hospital

4. HEALTH AND SAFETY

MEDICAL MICROBIOLOGY & PARASITOLOGY DEPARTMENT

Grade as 0 – Not Present; 1 – Poor; 2 – Below average;  3 – Acceptable; 4 – above average; 5 – Excellent

| S / N | ITEM | PRESENT / ABSENT | GRADE | REMARKS |
| --- | --- | --- | --- | --- |
| 1 | Waste disposal. Bin removal and disposal |  |  |  |
| 2 | Electrical switches. No exposure of live conductors |  |  |  |
| 3 | Ladders and stairways in good condition |  |  |  |
| 4 | Protective clothing (coats, gloves, aprons) |  |  |  |
| 5 | Fire fighting equipment - Portable extinguishes - Alarm systems |  |  |  |
| 6 | Safety equipment - Eye wash bottles - Emergency shower |  |  |  |
| 7 | Ergonomic factors - Seating adequate - Accessibility of exit ways |  |  |  |
| 8 | Documentation of internal incident/injury/needle stick/report |  |  |  |
| 9 | Hand decontamination |  |  |  |
| 10 | Biological safety cabinets |  |  |  |
| 11 | Universal precautions for handling blood and body fluids |  |  |  |
| 12 | Training programs for laboratory personnel in safe working habits |  |  |  |
| 13 | Appointment of a safety officer |  |  |  |
| 14 | Are staffs fully immunized? |  |  |  |
| 15 | Programme for disposal of infectious waste |  |  |  |
| 16 | First aid box |  |  |  |
| 17 | Metal box for acids /inflammable materials |  |  |  |
| 18 | Lighting |  |  |  |
| 19 | Friction of the floor |  |  |  |
| 20 | Safe arrangements of items in the lab |  |  |  |
| 21 | Post exposure prophylaxis |  |  |  |

Additional Comments: This is a new section that requires a minimum of 40% as pass mark. This MUST be increased to 60% in 3 years

5.	INVESTIGATIONS PERFORMED

MEDICAL MICROBIOLOGY & PARASITOLOGY LABORTATORY

Grading  0 – Not present/never done; 1 – Suspended;  2 – rarely done;  3 – Regularly done

| S / N | TESTS | NO. DONE PREVIOUS YEAR | IF NOT DONE REASON | GRADE | REMARKS |
| --- | --- | --- | --- | --- | --- |
| 1 | Stool M/C/S |  |  |  |  |
| 2 | Urine M/C/S |  |  |  |  |
| 3 | Tests for malaria parasites |  |  |  |  |
| 4 | Peripheral thin blood film |  |  |  |  |
| 5 | Sputum AFB |  |  |  |  |
| 6 | Sputum M/C/S |  |  |  |  |
| 7 | Blood culture |  |  |  |  |
| 8 | Sterile Fluid M/C/S |  |  |  |  |
| 9 | Swabs M/C/S |  |  |  |  |
| 10 | CSF M/C/S |  |  |  |  |
| 11 | Antibiotic Sensitivity Testing |  |  |  |  |
| 12 | Other Body Fluid M/C/S |  |  |  |  |
| 13 | Skin Snip & Scraping |  |  |  |  |
| 14 | KOH Mount |  |  |  |  |
| 15 | Fungal Culture |  |  |  |  |
| 16 | Mycobacterial Culture |  |  |  |  |
| 17 | Immunology: - HBV - HCV - HIV - Torcsh Complex - CSF Serology - CRP - ASO Titre |  |  |  |  |
| 18 | Ova & Parasites in blood, stool & Tissue and other samples |  |  |  |  |
| 19 | Semen analysis |  |  |  |  |
| 20 | PCR tests |  |  |  |  |
| 21 | Immunophenotyping |  |  |  |  |
| 22 | Nosocomial infection control |  |  |  |  |
| 23 | Antenatal screening |  |  |  |  |
| 24 | Outbreak investigation |  |  |  |  |

Minimum mark to pass 60% . To be increased to 75% in 3 years

ADDITIONAL COMMENTS

6.	QUALITY SYSTEMS

MEDICAL MICROBIOLOGY & PARASITOLOGY LABORATORY

Grading:  0 – Absent;  1 – Present poor;  2 – barely acceptable;  3 – Acceptable;  4 – Above average;

5 –    Very High Standard

| S / N | ITEM | PRESENT / ABSENT | GRADE | REMARKS |
| --- | --- | --- | --- | --- |
| 1 | Presence of quality manual |  |  |  |
| 2 | Presence of quality control officer |  |  |  |
| 3 | Use of internal quality control material |  |  |  |
| 4 | Presence of control charts |  |  |  |
| 5 | Participation in external quality control |  |  |  |
| 6 | Control of stains |  |  |  |
| 7 | Control of isolates / identifications |  |  |  |
| 8 | Control of antibiotic sensitivity testing |  |  |  |
| 9 | Records of temperatures in fridges, incubators |  |  |  |
| 10 | Record of temperatures in freezers, oven |  |  |  |
| 11 | Control of serologic tests |  |  |  |
| 12 | Standard operating procedures displayed |  |  |  |
| 13 | Records on equipment maintenance |  |  |  |
| 14 | Documentation of errors and action |  |  |  |
| 15 | Proficiency assessment |  |  |  |

Additional comments:  This is a completely new section.

Minimum of 40% must be available. (This must be increased to 70% in 3years)

7.	SERVICES AND CLINICAL PROGRAMMES

MEDICAL MICROBIOLOGY & PARASITOLOGY

Grading:  0 – Not present/never done;  1 – Suspended;  2 – rarely done;  3 – Regularly done

| S / N | ITEM | FREQUENCY PER WEEK | GRADE/REMARKS |
| --- | --- | --- | --- |
| 1 | Laboratory investigations for the hospital - Regular hour - Emergency service (MP, Blood culture, Sterile fluid, CSF) |  |  |
| 2 | Laboratory investigation for outside client |  |  |
| 3 | Specialist clinics - STI/HIV Clinic - Infectious Diseases |  |  |
| 4 | Care of Ward patients |  |  |
| 5 | Specialist Consultation (in/out-patient) |  |  |
| 6 | Others – specify |  |  |

Additional comments: Must have at least 70%

8 ACADEMIC ACTIVITIES

SECTION A:  STUCTURE

ITEM                                                                                                                              GRADE

0        1     2     3     4     5

- Departmental Library

- Hospital library

- Internet access

- Seminar/conference room

- Residents’ rest room

- …………………………………………………………………………………

- …………………………………………………………………………………

- …………………………………………………………………………………

SECTION B:   ACTIVITIES

| SERIAL NUMBER | ITEM | FREQUENCY PER MONTH | REMARKS |
| --- | --- | --- | --- |
| 1 | Grand round |  |  |
| 2 | Formal lectures |  |  |
| 3 | Tutorial |  |  |
| 4 | Research seminar |  |  |
| 5 | Case presentation |  |  |
| 6 | Journal presentation |  |  |
| 7 | Clinico-pathological conference |  |  |
| 8 | Inter departmental clinical meetings |  |  |
| 9 | Other Clinical postings |  |  |
| 10 | Infection control meetings |  |  |

Additional comments: Minimum of 80% must be present

SECTION C :   ASSESSMENT AND COUNSELLING.

GRADE

ITEM                                                                                      0    1     2       3       4        5

- Formative assessment  as observed from Log books

- Departmental communication on residents’ assessment

- Evidence of mentoring

- Evidence of communication between department  and

hospital administration on formative assessment.

KEY TO GRADING

- Absent

- Present but poor

- Acceptable but below average

- Average; meets expectation

- Above expectation

- Excellent.

ACCREDITATION REPORT.

General Observations. State Lab division………………………………………..………………………………………..

GRADING

SECTION                                                                                                     GRADE.

- Infrastructure

- Manpower

- Equipment and facilities

- Health and safety

- Investigations performed

- Quality systems

- Services and Clinical Programmes

- Academic activities

- Summary of annual reports ( comments)

- Summary of activities of hospital (comments)

Summary of grading.

ACCREDITATION                                       		 FULL

TEMPORARY

PARTIAL

DENIED.

Accredited to train  ……….junior residents and  …………senior residents.

GENERAL RECCOMENDATION BASED ON OBSERVATION.--------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------

If accreditation is denied the reason should be stated above.

Names and signature of accreditation team.

1.-------------------------------------------------------------------------------------------------------------------------------------------------

2. ------------------------------------------------------------------------------------------------------------------------------------------------

3. ------------------------------------------------------------------------------------------------------------------------------------------------

4. ----------------------------------------------------------------------------------------------------------------------------------------------

5.-----------------------------------------------------------------------------------------------------------------------------------------------

6. ----------------------------------------------------------------------------------------------------------------------------------------------

Date

Name and signature of head of laboratory department-------------------------------------------------------------------------------------

-----------------------------------------------------------------------------------------------------------------------------------------------------

Name and signature of hospital director or his representative.-----------------------------------------------------------------------------

-----------------------------------------------------------------------------------------------------------------------------------------------------

Date received at the secretariat and signature.-----------------------------------------------------------------------------------------------

Faculty Board recommendation.----------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------

-----------------------------------------------------------------------------------------------------------------------------------------------------

---------------------------------------------------------                             -----------------------------------------------------------------------

Faculty Chairman                                                                         Faculty Secretary.

Date